## Lines
|  |  | Substation_1 | Substation_2 |  | Maximum Current Imax (A) | [6 empty] | Dynamic line rating (DLR) |  | Electrical Parameters
NE_name | EIC_Code | TSO | Full_name | Full_name | Voltage_level(kV) | Period 1 | Period 2 | Period 3 | Period 4 | Period 5 | Period 6 | Fixed | DLRmin(A) | DLRmax(A) | Resistance_R(Ω) | Reactance_X(Ω) | Susceptance_B(μS) | Length_(km) | Comment
Beverwijk-Oostzaan 380 W | 49T0000000000517 | TENNET NL | Oostzaan | Beverwijk | 380 | 2890 | 3300 | [7 empty] | 0.3717 | 4.3527 | 65.4243 | 17
Beverwijk-Oostzaan 380 Z | 49T0000000000509 | TENNET NL | Oostzaan | Beverwijk | 380 | 2890 | 3300 | [7 empty] | 0.3717 | 4.3527 | 65.4243 | 17
Beverwijk-Vijfhuizen 380 W | 49T000000000049V | TENNET NL | Beverwijk | Vijfhuizen | 380 | 1500 | 1500 | [7 empty] | 0.3667 | 2.8601 | 164.002 | 14.31
Beverwijk-Vijfhuizen 380 Z | 49T000000000048X | TENNET NL | Beverwijk | Vijfhuizen | 380 | 1500 | 1500 | [7 empty] | 0.3667 | 2.8601 | 164.002 | 14.31
Bleiswijk-Vijfhuizen 380 O | 49T000000000047Z | TENNET NL | Bleiswijk | Vijfhuizen | 380 | 3000 | 3000 | [7 empty] | 1.0709 | 10.191 | 1425.929 | 45.944
Bleiswijk-Vijfhuizen 380 P | 49T0000000000460 | TENNET NL | Bleiswijk | Vijfhuizen | 380 | 3000 | 3000 | [7 empty] | 1.0709 | 10.191 | 1425.929 | 45.944
Borssele-Rilland 380 G | 49T000000000057W | TENNET NL | Borssele | Rilland | 380 | 2500 | 3300 | [5 empty] | 2500 | 4000 | 0.8696 | 10.184 | 153.0682 | 38.924
Borssele-Rilland 380 Z | 49T000000000059S | TENNET NL | Borssele | Rilland | 380 | 2500 | 3300 | [5 empty] | 2500 | 4000 | 0.8696 | 10.184 | 153.0682 | 38.924
Boxmeer-Dodewaard 380 Z | 49T000000000006C | TENNET NL | Dodewaard | Boxmeer | 380 | 2500 | 2875 | [7 empty] | 0.9702 | 11.421 | 171.589 | 41.7
Breukelen Kortrijk-Diemen 380 W | 49T0000000000088 | TENNET NL | Breukelen Kortrijk | Diemen | 380 | 2500 | 3100 | [7 empty] | 0.4402 | 5.1553 | 134.2988 | 37.52
Crayestein-Krimpen a/d IJssel 380 W | 49T0000000000347 | TENNET NL | Crayestein | Krimpen a/d IJssel | 380 | 4000 | 4000 | [7 empty] | 0.2266 | 3.5957 | 71.6983 | 14.835
Crayestein-Krimpen a/d IJssel 380 Z | 49T0000000000339 | TENNET NL | Crayestein | Krimpen a/d IJssel | 380 | 4000 | 4000 | [7 empty] | 0.2266 | 3.5957 | 71.6983 | 14.835
Diemen-Lelystad 380 W | 49T0000000000096 | TENNET NL | Diemen | Lelystad | 380 | 4000 | 4000 | [7 empty] | 1.1803 | 13.714 | 209.651 | 50.43
Diemen-Lelystad 380 Z | 49T000000000010L | TENNET NL | Diemen | Lelystad | 380 | 2800 | 3100 | [7 empty] | 1.1803 | 13.714 | 209.651 | 50.43
Dodewaard-Doetinchem 380 W | 49T000000000011J | TENNET NL | Dodewaard | Doetinchem | 380 | 2500 | 3100 | [7 empty] | 1.1555 | 12.372 | 192.8592 | 45.4
Dodewaard-Doetinchem 380 Z | 49T000000000012H | TENNET NL | Dodewaard | Doetinchem | 380 | 2500 | 3100 | [7 empty] | 1.1555 | 12.372 | 192.8592 | 45.4
Doetinchem-Hengelo 380 W | 49T000000000014D | TENNET NL | Doetinchem | Hengelo | 380 | 2500 | 3100 | [7 empty] | 1.491 | 16.04 | 247.7843 | 58.65
Doetinchem-Hengelo 380 Z | 49T000000000015B | TENNET NL | Doetinchem | Hengelo | 380 | 2500 | 3100 | [7 empty] | 1.491 | 16.04 | 247.7843 | 58.65
Eemshaven - Eemshaven het Hogeland 380 Zwart | 49T000000000105A | TENNET NL | Eemshaven | Eemshaven het Hogeland | 380 | 4000 | 4000 | [7 empty] | 0.0064 | 0.1329 | 58.8558 | 0.8
Eemshaven het Hogeland - Meeden 380 Zwart | 49T0000000001068 | TENNET NL | Eemshaven het Hogeland | Meeden | 380 | 4000 | 4000 | [7 empty] | 0.5196 | 8.8231 | 182.3658 | 37.2
Eemshaven Oude Schip -Eemshaven 380 W | 49T0000000000177 | TENNET NL | Eemshaven | Eemshaven Oude Schip | 380 | 4000 | 4000 | [7 empty] | 0.0213 | 0.3341 | 6.9216 | 1.44
Eemshaven Oude Schip -Eemshaven 380 Z | 49T0000000000185 | TENNET NL | Eemshaven | Eemshaven Oude Schip | 380 | 4000 | 4000 | [7 empty] | 0.0213 | 0.3341 | 6.9216 | 1.44
Eemshaven Oude Schip-Doekegat 380 W | 49T0000000000541 | TENNET NL | Eemshaven Oude Schip | Doekegat | 380 | 4000 | 4000 | [7 empty] | 0.0244 | 0.275 | 4.1469 | 1
Eemshaven Oude Schip-Doekegat 380 Z | 49T0000000000533 | TENNET NL | Eemshaven Oude Schip | Doekegat | 380 | 4000 | 4000 | [7 empty] | 0.0244 | 0.275 | 4.1469 | 1
Eemshaven-Meeden 380 W | 49T000000000004G | TENNET NL | Eemshaven | Meeden | 380 | 4000 | 4000 | [7 empty] | 0.5196 | 8.8231 | 182.3658 | 36.8
Ens-Zwolle 380 W | 49T000000000024A | TENNET NL | Ens | Zwolle | 380 | 2500 | 3100 | [7 empty] | 0.81 | 8.7474 | 135.3747 | 32
Ens-Zwolle 380 Z | 49T0000000000258 | TENNET NL | Ens | Zwolle | 380 | 2500 | 3100 | [7 empty] | 0.81 | 8.7474 | 135.3747 | 32
Geertruidenberg-Eindhoven 380 G | 49T0000000000193 | TENNET NL | Geertruidenberg | Eindhoven | 380 | 2500 | 3100 | [7 empty] | 1.47 | 19.026 | 244.9655 | 63.9
Geertruidenberg-Eindhoven 380 W | 49T000000000020I | TENNET NL | Geertruidenberg | Eindhoven | 380 | 2500 | 2500 | [7 empty] | 1.4985 | 19.03 | 244.3273 | 63.9
Geertruidenberg-Eindhoven 380 Z | 49T000000000021G | TENNET NL | Geertruidenberg | Eindhoven | 380 | 2500 | 3100 | [7 empty] | 1.5064 | 19.131 | 245.6273 | 63.9
Krimpen a/d IJssel-Bleiswijk 380 W | 49T0000000000452 | TENNET NL | Krimpen a/d IJssel | Bleiswijk | 380 | 4000 | 4000 | [7 empty] | 0.2831 | 4.5209 | 88.9798 | 18.56
Krimpen a/d IJssel-Bleiswijk 380 Z | 49T0000000000444 | TENNET NL | Krimpen a/d IJssel | Bleiswijk | 380 | 4000 | 4000 | [7 empty] | 0.2831 | 4.5209 | 88.9798 | 18.56
Krimpen a/d IJssel-Breukelen Kortrijk 380 W | 49T0000000000266 | TENNET NL | Krimpen a/d IJssel | Breukelen Kortrijk | 380 | 2500 | 2500 | [7 empty] | 0.9046 | 10.593 | 275.9644 | 20.01
Krimpen a/d IJssel-Geertruidenberg 380 W | 49T0000000000274 | TENNET NL | Krimpen a/d IJssel | Geertruidenberg | 380 | 2826 | 3300 | [7 empty] | 0.7952 | 9.313 | 139.9833 | 34.02
Krimpen a/d IJssel-Geertruidenberg 380 Z | 49T0000000000282 | TENNET NL | Krimpen a/d IJssel | Geertruidenberg | 380 | 2826 | 3300 | [7 empty] | 0.7952 | 9.313 | 139.9833 | 34.02
Krimpen a/d IJssel-Oostzaan 380 Z | 49T000000000032B | TENNET NL | Krimpen a/d IJssel | Oostzaan | 380 | 2500 | 2500 | [7 empty] | 1.7021 | 19.909 | 299.2586 | 72.529
Lelystad-Ens 380 W | 49T000000000022E | TENNET NL | Lelystad | Ens | 380 | 4000 | 4000 | [7 empty] | 0.4921 | 5.7228 | 86.9979 | 21
Lelystad-Ens 380 Z | 49T000000000023C | TENNET NL | Lelystad | Ens | 380 | 4000 | 4000 | [7 empty] | 0.4921 | 5.7228 | 86.9979 | 21
Maasbracht-Boxmeer 380 Z | 49T000000000007A | TENNET NL | Maasbracht | Boxmeer | 380 | 2500 | 2875 | [7 empty] | 1.3472 | 15.858 | 238.2494 | 57.9
Maasbracht-Dodewaard 380 W | 49T000000000013F | TENNET NL | Maasbracht | Dodewaard | 380 | 2500 | 2500 | [7 empty] | 2.3161 | 27.281 | 409.8279 | 99.6
Maasbracht-Eindhoven 380 W | 49T0000000000290 | TENNET NL | Maasbracht | Eindhoven | 380 | 2826 | 3300 | [7 empty] | 1.1334 | 13.351 | 200.5604 | 48.742
Maasbracht-Eindhoven 380 Z | 49T000000000030F | TENNET NL | Maasbracht | Eindhoven | 380 | 2826 | 3300 | [7 empty] | 1.1334 | 13.351 | 200.5604 | 48.742
Maasvlakte-Simonshaven 380 W | 49T0000000000371 | TENNET NL | Maasvlakte | Simonshaven | 380 | 4000 | 4000 | [7 empty] | 0.3972 | 6.3019 | 125.6594 | 26
Maasvlakte-Simonshaven 380 Z | 49T000000000039Y | TENNET NL | Maasvlakte | Simonshaven | 380 | 4000 | 4000 | [7 empty] | 0.3972 | 6.3019 | 125.6594 | 26
Oostzaan-Diemen 380 G | 49T0000000000525 | TENNET NL | Oostzaan | Diemen | 380 | 2890 | 3000 | [7 empty] | 0.3553 | 4.161 | 62.544 | 15.2
Rilland-Geertruidenberg 380 W | 49T000000000058U | TENNET NL | Rilland | Geertruidenberg | 380 | 2500 | 3100 | [5 empty] | 2826 | 3300 | 1.5733 | 17.255 | 259.0317 | 61.213
Rilland-Geertruidenberg 380 Z | 49T0000000000606 | TENNET NL | Rilland | Geertruidenberg | 380 | 2500 | 3100 | [5 empty] | 2826 | 3300 | 1.5733 | 17.255 | 259.0317 | 61.213
Simonshaven-Crayestein 380 W | 49T0000000000355 | TENNET NL | Simonshaven | Crayestein | 380 | 4000 | 4000 | [7 empty] | 0.6176 | 9.7995 | 195.4003 | 40.43
Simonshaven-Crayestein 380 Z | 49T0000000000363 | TENNET NL | Simonshaven | Crayestein | 380 | 4000 | 4000 | [7 empty] | 0.6176 | 9.7995 | 195.4003 | 40.43
Wateringen-Bleiswijk 380 W | 49T0000000000428 | TENNET NL | Wateringen | Bleiswijk | 380 | 2470 | 2470 | [7 empty] | 0.176 | 3.6546 | 1618.536 | 22
Wateringen-Bleiswijk 380 Z | 49T0000000000436 | TENNET NL | Wateringen | Bleiswijk | 380 | 2470 | 2470 | [7 empty] | 0.176 | 3.6546 | 1618.536 | 22
Wateringen-Westerlee 380 W | 49T000000000041A | TENNET NL | Wateringen | Westerlee | 380 | 4000 | 4000 | [7 empty] | 0.1034 | 1.6621 | 32.4898 | 6.8
Wateringen-Westerlee 380 Z | 49T000000000040C | TENNET NL | Wateringen | Westerlee | 380 | 4000 | 4000 | [7 empty] | 0.1034 | 1.6621 | 32.4898 | 6.8
Westerlee-Maasvlakte 380 W | 49T000000000069P | TENNET NL | Maasvlakte | Westerlee | 380 | 4000 | 4000 | [7 empty] | 0.284 | 12.0269 | 224.01 | 20.432
Westerlee-Maasvlakte 380 Z | 49T0000000000703 | TENNET NL | Maasvlakte | Westerlee | 380 | 4000 | 4000 | [7 empty] | 0.284 | 12.0269 | 224.01 | 20.432
Zwolle-Hengelo 380 W | 49T000000000000O | TENNET NL | Zwolle | Hengelo | 380 | 2500 | 3100 | [7 empty] | 1.5301 | 16.526 | 253.9931 | 60.31
Zwolle-Hengelo 380 Z | 49T000000000031D | TENNET NL | Zwolle | Hengelo | 380 | 2500 | 3100 | [7 empty] | 1.5301 | 16.526 | 253.9931 | 60.31
Zwolle-Meeden 380 W | 49T000000000001M | TENNET NL | Zwolle | Meeden | 380 | 4000 | 4000 | [7 empty] | 1.4968 | 25.632 | 522.3601 | 107.85
Zwolle-Meeden 380 Z | 49T000000000002K | TENNET NL | Zwolle | Meeden | 380 | 4000 | 4000 | [7 empty] | 1.5013 | 25.634 | 522.3352 | 107.85
Eemshaven-Eemshaven Oost 220 W | 49T000000000193O | TENNET NL | Eemshaven | Eemshaven Oost | 220 | 600 | 600 | [7 empty] | 0.075 | 0.104 | 135.0401 | 0.93
Eemshaven-Eemshaven Oost 220 Z | 49T000000000194M | TENNET NL | Eemshaven | Eemshaven Oost | 220 | 600 | 600 | [7 empty] | 0.075 | 0.104 | 135.0401 | 0.93
Eemshaven-Robbenplaat 220 A | 49T000000000195K | TENNET NL | Eemshaven | Robbenplaat | 220 | 4000 | 4000 | [7 empty] | 0.0043 | 0.0501 | 9.2235 | 0.04
Eemshaven-Robbenplaat 220 B | 49T000000000196I | TENNET NL | Eemshaven | Robbenplaat | 220 | 4000 | 4000 | [7 empty] | 0.0043 | 0.0501 | 9.2235 | 0.04
Hessenweg-Ens 220 W | 49T000000000197G | TENNET NL | Hessenweg | Ens | 220 | 2500 | 2500 | [7 empty] | 0.7489 | 8.2606 | 138.1198 | 31.4101
Hessenweg-Ens 220 Z | 49T000000000198E | TENNET NL | Hessenweg | Ens | 220 | 2500 | 2500 | [7 empty] | 0.7489 | 8.2606 | 138.1198 | 31.4101
Hessenweg-Zeyerveen 220 W | 49T000000000199C | TENNET NL | Hessenweg | Zeyerveen | 220 | 2500 | 2750 | [7 empty] | 1.302 | 18.72 | 230.906 | 64.052
Hessenweg-Zeyerveen 220 Z | 49T000000000200G | TENNET NL | Hessenweg | Zeyerveen | 220 | 2500 | 2750 | [7 empty] | 1.302 | 18.72 | 230.906 | 64.052
Louwsmeer-Bergum 220 W | 49T0000000000614 | TENNET NL | Louwsmeer | Bergum | 220 | 2500 | 2500 | [7 empty] | 0.2592 | 2.8519 | 47.6976 | 10.847
Louwsmeer-Bergum 220 Z | 49T0000000000622 | TENNET NL | Louwsmeer | Bergum | 220 | 2500 | 2500 | [7 empty] | 0.2594 | 2.8517 | 47.6992 | 10.847
Louwsmeer-Oudehaske 220 W | 49T000000000064Z | TENNET NL | Louwsmeer | Oudehaske | 220 | 2500 | 2750 | [7 empty] | 0.6808 | 7.4894 | 125.2591 | 28.4854
Louwsmeer-Oudehaske 220 Z | 49T000000000065X | TENNET NL | Louwsmeer | Oudehaske | 220 | 2500 | 2750 | [7 empty] | 0.6813 | 7.4889 | 125.2633 | 28.4854
Meeden-Weiwerd 220 B | 49T000000000201E | TENNET NL | Meeden | Weiwerd | 220 | 2300 | 2500 | [7 empty] | 0.4921 | 7.2484 | 139.7185 | 29.6
Meeden-Weiwerd 220 O | 49T000000000202C | TENNET NL | Meeden | Weiwerd | 220 | 2300 | 2500 | [7 empty] | 0.4924 | 7.208 | 140.388 | 29.6
Oudehaske-Ens 220 W | 49T000000000066V | TENNET NL | Oudehaske | Ens | 220 | 2500 | 2500 | [7 empty] | 1.0467 | 11.515 | 192.5915 | 43.7976
Oudehaske-Ens 220 Z | 49T000000000067T | TENNET NL | Oudehaske | Ens | 220 | 2500 | 2750 | [7 empty] | 1.0467 | 11.515 | 192.5915 | 43.7976
Robbenplaat-Weiwerd 220 P | 49T000000000203A | TENNET NL | Robbenplaat | Weiwerd | 220 | 2300 | 2500 | [7 empty] | 0.4164 | 5.9349 | 112.1255 | 25.6
Robbenplaat-Eemshaven het Hogeland 220 G | 49T0000000002129 | TENNET NL | Robbenplaat | Eemshaven het Hogeland | 220 | 2300 | 2500 | [7 empty] | 0.0108 | 0.1834 | 0 | 0.8
Eemshaven het Hogeland-Weiwerd 220G | 49T0000000002161 | TENNET NL | Eemshaven het Hogeland | Weiwerd | 220 | 2300 | 2500 | [7 empty] | 0.4037 | 5.7814 | 0 | 23.2
Vierverlaten-Eemshaven 220 G | 49T0000000000630 | TENNET NL | Vierverlaten | Eemshaven | 220 | 2300 | 2500 | [7 empty] | 0.9897 | 11.441 | 160.4802 | 40.02
Vierverlaten-Robbenplaat 220 W | 49T0000000002153 | TENNET NL | Vierverlaten | Robbenplaat | 220 | 2300 | 2500 | [7 empty] | 1.009 | 11.195 | 0 | 39.93
Vierverlaten-Zeyerveen 220 W | 49T0000000002064 | TENNET NL | Vierverlaten | Zeyerveen | 220 | 2500 | 2750 | [7 empty] | 0.4 | 6.97 | 90.84 | 22.71
Vierverlaten-Zeyerveen 220 Z | 49T0000000002072 | TENNET NL | Vierverlaten | Zeyerveen | 220 | 2500 | 2750 | [7 empty] | 0.4 | 6.97 | 90.84 | 22.71
Bergum-Vierverlaten 220 W | 49T000000000068R | TENNET NL | Bergum | Vierverlaten | 220 | 2500 | 2500 | [7 empty] | 0.726 | 8.2764 | 153.3047 | 32.4798
Bergum - Robbenplaat 220 Z | 49T0000000001076 | TENNET NL | Bergum | Robbenplaat | 220 | 2300 | 2500 | [7 empty] | 1.7131 | 19.691 | 313.8233 | 72.41
Note on P15: Hollebrandse, Julian: Checken, want circuit is verzwaard

## Tielines
|  |  | Substation_1 | Substation_2 |  | Maximum Current Imax (A) | [6 empty] | Dynamic line rating (DLR) |  | Electrical Parameters |  |  | TSO Share until border
NE_name | EIC_Code | TSO | Full_name | Full_name | Voltage_level(kV) | Period 1 | Period 2 | Period 3 | Period 4 | Period 5 | Period 6 | Fixed | DLRmin(A) | DLRmax(A) | Resistance_R(Ω) | Reactance_X(Ω) | Susceptance_B(μS) | Length_(km) | Comment
Rilland-Zandvliet 380 G | 10T-BE-NL-00003E | TENNET NL | Rilland | Zandvliet | 380 | 2500 | 3100 | [7 empty] | 0.0945 | 0.9763 | 6.6555 | 6.6 | Tie-line to BE (Elia)
Rilland-Zandvliet 380 W | 10T-BE-NL-00004C | TENNET NL | Rilland | Zandvliet | 380 | 2500 | 3100 | [7 empty] | 0.0886 | 0.9763 | 6.7361 | 6.6 | Tie-line to BE (Elia)
Maasbracht-Van Eyck 380 W | 10T-BE-NL-00002G | TENNET NL | Maasbracht | Van Eyck | 380 | 2500 | 2875 | [7 empty] | 0.1386 | 1.578 | 22.957 | 8.1 | Tie-line to BE (Elia)
Maasbracht-Van Eyck 380 Z | 10T-BE-NL-00001I | TENNET NL | Maasbracht | Van Eyck | 380 | 2500 | 2875 | [7 empty] | 0.1364 | 1.5757 | 22.8371 | 8.1 | Tie-line to BE (Elia)
Gronau-Hengelo 380 W | 10T-DE-NL-00003R | TENNET NL | Gronau | Hengelo | 380 | 2500 | 3100 | [7 empty] | 0.3 | 2.9001 | 45.5214 | 16.4 | Tie-line to DE (Amprion)
Gronau-Hengelo 380 Z | 10T-DE-NL-00004P | TENNET NL | Gronau | Hengelo | 380 | 2500 | 3100 | [7 empty] | 0.3 | 2.9001 | 45.5214 | 16.4 | Tie-line to DE (Amprion)
Maasbracht-Oberzier 380 W | 10T-DE-NL-00005N | TENNET NL | Maasbracht | Oberzier | 380 | 2500 | 2875 | [7 empty] | 0.7259 | 7.1484 | 120.4381 | 10.5 | Tie-line to DE (Amprion)
Maasbracht-Siersdorf 380 Z | 10T-DE-NL-00006L | TENNET NL | Maasbracht | Siersdorf | 380 | 2500 | 2875 | [7 empty] | 0.4985 | 4.8831 | 81.8009 | 10.5 | Tie-line to DE (Amprion)
Diele-Meeden 380 W | 10T-DE-NL-00002T | TENNET NL | Diele | Meeden | 380 | 1520 | 1520 | [7 empty] | 0.3264 | 3.7075 | 52.9723 | 16.5 | Tie-line to DE (TENNET DE)
Diele-Meeden 380 Z | 10T-DE-NL-00001V | TENNET NL | Diele | Meeden | 380 | 1520 | 1520 | [7 empty] | 0.3264 | 3.7075 | 52.9723 | 16.5 | Tie-line to DE (TENNET DE)
Doetinchem-Niederrhein 380 W | 10T1001C--000235 | TENNET NL | Doetinchem | Niederrhein | 380 | 4000 | 4000 | [7 empty] | 0.4789 | 7.2212 | 131.4207 | 22.18 | Tie-line to DE (Amprion)
Doetinchem-Niederrhein 380 Z | 10T-DE-NL-00007J | TENNET NL | Doetinchem | Niederrhein | 380 | 4000 | 4000 | [7 empty] | 0.4708 | 7.1976 | 130.7829 | 22.18 | Tie-line to DE (Amprion)

## Transformers
Location |  |  | Maximum Current Imax (A) primary |  |  | Voltage_level(kV) |  | Electrical Parameters (primary) at neutral tap |  |  |  | Phase Shifting Properties
Full Name | EIC_Code | TSO | Min | Max | Fixed | Primary | Secondary | Resistance_R(Ω) | Reactance_X(Ω) | Susceptance_B (µS) | Conductance_G (µS) | Taps used for RAO | Theta θ (°) | Symmetrical/Asymmetrical | Phase Regulation δu (%) | Angle Regulation δu (%) | Comment
Meeden PST W | 49T000000000078O | TENNET NL | 1520 | 1520 |  | 380 | 380 | 0.1295 | 10.006 | -5.8909 | 2.7701 | -5/5 | 90 | Symmetrical |  | 4.549
Meeden PST Z | 49T000000000077Q | TENNET NL | 1520 | 1520 |  | 380 | 380 | 0.1295 | 10.006 | -5.8909 | 2.7701 | -5/5 | 90 | Symmetrical |  | 4.549
Eemshaven Hogeland 380kV TR 421 | 49T000000000184P | TENNET NL | 1140 | 1140 |  | 380 | 220 | 0.091 | 31.529 | -10.3425 | 0.9695
Eemshaven 380kV TR 423 | 49T000000000183R | TENNET NL | 1140 | 1140 |  | 380 | 220 | 0.091 | 31.529 | -10.3425 | 0.9695
Eemshaven 380kV TR 401 | 49T000000000181V | TENNET NL | 1140 | 1140 |  | 380 | 220 | 0.0912 | 30.585 | -10.3425 | 0.9695
Eemshaven 380kV TR 402 | 49T000000000182T | TENNET NL | 1140 | 1140 |  | 380 | 220 | 0.091 | 31.669 | -10.3425 | 0.9695
Ens 380kV TR 404 | 49T000000000187J | TENNET NL | 1140 | 1140 |  | 380 | 220 | 0.1116 | 42.923 | -6.8854 | 0.741
Ens 380kV TR 402 | 49T000000000185N | TENNET NL | 760 | 760 |  | 380 | 220 | 0.0912 | 31.462 | -10.3425 | 0.9695
Ens 380kV TR 403 | 49T000000000186L | TENNET NL | 760 | 760 |  | 380 | 220 | 0.2117 | 43.136 | -6.9019 | 0.5679
Meeden 380kV TR 402 | 49T000000000188H | TENNET NL | 1140 | 1140 |  | 380 | 220 | 0.0626 | 30.653 | -10.3444 | 0.9488

## Remedial Actions
Location
Name of RA | TSO | Description
TOP_2N_Lelystad | TENNET NL | Opening of busbar coupler in 380kV substation Lelystad (Normal operation: one-node)
TOP_2N_Ens | TENNET NL | Opening of busbar coupler in 380kV substation Ens (Normal operation: one-node)
TOP_2N_Doetinchem | TENNET NL | Opening of busbar coupler in 380kV substation Doetinchem (Normal operation: one-node)
TOP_2N_Hengelo | TENNET NL | Opening of busbar coupler in 380kV substation Hengelo (Normal operation: one-node)
TOP_2N_Geertruidenberg | TENNET NL | Opening of busbar coupler in 380kV substation Geertruidenberg (Normal operation: one-node)
TOP_2N_Diemen | TENNET NL | Opening of busbar coupler in 380kV substation Diemen (Normal operation: one-node)
TOP_2N_Eindhoven | TENNET NL | Opening of busbar coupler in 380kV substation Eindhoven (Normal operation: one-node)
TOP_2N_Zwolle | TENNET NL | Opening of busbar coupler in 380kV substation Zwolle (Normal operation: one-node)
TOP_2N_1_Maasbracht | TENNET NL | Opening of busbar coupler 1 in 380kV substation Maasbracht (Normal operation: one-node)
TOP_2N_2_Maasbracht | TENNET NL | Opening of busbar coupler 2 in 380kV substation Maasbracht (Normal operation: one-node)
TOP_2N_Krimpen | TENNET NL | Opening of busbar coupler in 380kV substation Krimpen a/d IJssel (Normal operation: one-node)
TOP_2N_Rilland | TENNET NL | Opening of busbar coupler in 380kV substation Rilland (Normal operation: one-node)
PST_Meeden_W | TENNET NL | Change of tap position of phase shifting transformer in 380kV substation Meeden
PST_Meeden_Z | TENNET NL | Change of tap position of phase shifting transformer in 380kV substation Meeden