## IT
Import | [7 empty] | IT | Export
Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Out Domain | Coordinated/Individual | Invoked by |  | Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | In Domain | Coordinated/Individual | Invoked by
2022-12-05 07:00 | 8 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-05 08:00 | 9 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-05 09:00 | 10 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-05 10:00 | 11 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-05 11:00 | 12 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-05 12:00 | 13 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-05 13:00 | 14 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-05 14:00 | 15 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-05 15:00 | 16 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-05 16:00 | 17 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-06 07:00 | 8 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-06 08:00 | 9 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-06 09:00 | 10 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-06 10:00 | 11 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-06 11:00 | 12 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-06 12:00 | 13 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-06 13:00 | 14 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-06 14:00 | 15 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-06 15:00 | 16 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-06 16:00 | 17 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-07 07:00 | 8 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-07 08:00 | 9 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-07 09:00 | 10 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-07 10:00 | 11 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-07 11:00 | 12 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-07 12:00 | 13 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-07 13:00 | 14 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-07 14:00 | 15 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-07 15:00 | 16 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-07 16:00 | 17 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-08 07:00 | 8 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-12 07:00 | 8 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-12 08:00 | 9 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-12 09:00 | 10 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-12 10:00 | 11 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-12 11:00 | 12 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-12 12:00 | 13 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-12 13:00 | 14 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-12 14:00 | 15 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-12 15:00 | 16 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-12 16:00 | 17 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-13 07:00 | 8 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-13 08:00 | 9 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-13 09:00 | 10 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-13 10:00 | 11 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-13 11:00 | 12 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-13 12:00 | 13 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-13 13:00 | 14 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-13 14:00 | 15 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-13 15:00 | 16 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-13 16:00 | 17 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-14 07:00 | 8 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-14 08:00 | 9 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-14 09:00 | 10 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-14 10:00 | 11 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-14 11:00 | 12 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-14 12:00 | 13 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-14 13:00 | 14 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-14 14:00 | 15 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-14 15:00 | 16 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH
2022-12-14 16:00 | 17 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | CH | Coordinated | IT-CH

## FR
Import | [6 empty] | FR | Export
Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by |  | Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by

## CH
Import | [6 empty] | CH | Export
Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by |  | Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by
[8 empty] | 2022-12-05 07:00 | 8 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-05 08:00 | 9 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-05 09:00 | 10 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-05 10:00 | 11 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-05 11:00 | 12 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-05 12:00 | 13 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-05 13:00 | 14 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-05 14:00 | 15 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-05 15:00 | 16 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-05 16:00 | 17 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-06 07:00 | 8 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-06 08:00 | 9 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-06 09:00 | 10 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-06 10:00 | 11 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-06 11:00 | 12 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-06 12:00 | 13 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-06 13:00 | 14 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-06 14:00 | 15 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-06 15:00 | 16 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-06 16:00 | 17 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-07 07:00 | 8 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-07 08:00 | 9 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-07 09:00 | 10 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-07 10:00 | 11 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-07 11:00 | 12 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-07 12:00 | 13 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-07 13:00 | 14 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-07 14:00 | 15 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-07 15:00 | 16 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-07 16:00 | 17 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-08 07:00 | 8 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-12 07:00 | 8 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-12 08:00 | 9 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-12 09:00 | 10 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-12 10:00 | 11 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-12 11:00 | 12 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-12 12:00 | 13 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-12 13:00 | 14 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-12 14:00 | 15 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-12 15:00 | 16 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-12 16:00 | 17 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-13 07:00 | 8 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-13 08:00 | 9 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-13 09:00 | 10 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-13 10:00 | 11 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-13 11:00 | 12 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-13 12:00 | 13 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-13 13:00 | 14 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-13 14:00 | 15 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-13 15:00 | 16 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-13 16:00 | 17 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-14 07:00 | 8 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-14 08:00 | 9 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-14 09:00 | 10 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-14 10:00 | 11 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-14 11:00 | 12 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-14 12:00 | 13 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-14 13:00 | 14 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-14 14:00 | 15 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-14 15:00 | 16 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH
[8 empty] | 2022-12-14 16:00 | 17 | 300 | n.a. | urgent work:pylon welding work (380 kV Bonaduz-Breite and 380 kV Bonaduz-Mapragg) | Coordinated | IT-CH

## AT
Import | [6 empty] | AT | Export
Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by |  | Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by

## SI
Import | [6 empty] | SI | Export
Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by |  | Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by