## Slide 1
External Parallel Run KPI Report
01/06/2023 – 31/08/2023
Core IDCC(b)

## Slide 2: Parallel Run KPIs
Introduction
Context
  According to Article 26(4) of the Core ID CCM, Core TSOs shall:
    continuously monitor the effects and the performance of the application of this methodology during the parallel run
    develop, in coordination with the Core regulatory authorities, the Agency and stakeholders, the monitoring and performance criteria and report on the outcome of this monitoring on quarterly basis in a report
  IDCC external // run started on 5th of December 2022. Since this business day, results of capacity calculation have been published on JAO website [LINK]
On the next slide the overview of the KPIs covered in this KPI report is provided.
  A Reading Guide with a detail description of the KPIs is also available on JAO [LINK]

## Slide 3: Parallel Run KPIs
Overview of parallel run KPIs
ATC related KPIs
    Duration curve of Core oriented bidding zone borders with simultaneous zero (or negative) ID ATCs​
    Frequency of zero and negative ID ATCs by oriented Core bidding zone border, and Core average​
    Frequency of isolated BZs of zero (or negative) ID ATCs in import, export and both directions​
    Mean positive ID ATCs by oriented Core bidding zone border, and Core average​
    TSOs’ adjustment after validation
    Share of MTUs with intervention per TSO
    Limiting elements
    Limiting constraints of the ATC domain​
    Most often pre-solved CNECs​
    Net positions
    Min/Max Net Positions​
      Based on final FB domain
      Based on final ID ATC

## Slide 4: Parallel Run KPIs
Reporting period and limitations
Reporting period
  This KPI report covers three months (June – August) of IDCC ext//run in Core region, i.e. period 01/06/2023 – 31/08/2023.
  Business days 22/07/2023, 23/07/2023 and 24/07/2023 are excluded from the report since wrong FRM values were send to the IDCC process by TTN.
  As a result, KPI report contains results of 89 business days.

## Slide 5: KPI 1
Duration curve of Core oriented bidding zone borders with simultaneous zero (or negative) ID ATCs​

## Slide 6: KPI 2
Frequency of zero and negative ID ATCs by oriented Core bidding zone border, and Core average​

## Slide 7: KPI 3
Frequency of isolated BZs of zero (or negative) ID ATCs in import, export and both directions​​

## Slide 8: KPI 4
Mean positive ID ATCs by oriented Core bidding zone border, and Core average​

## Slide 9: KPI 5
Share of MTUs with intervention per TSO

## Slide 10: KPI 6
Limiting constraints of the ATC domain​

## Slide 11: KPI 6
Limiting constraints of the ATC domain​

## Slide 12: KPI 6
Limiting constraints of the ATC domain​

## Slide 13: KPI 6
Limiting constraints of the ATC domain​

## Slide 14: KPI 6
Limiting constraints of the ATC domain​

## Slide 15: KPI 6
Limiting constraints of the ATC domain​

## Slide 16: KPI 6
Limiting constraints of the ATC domain​

## Slide 17: KPI 6
Limiting constraints of the ATC domain​

## Slide 18: KPI 6
Limiting constraints of the ATC domain​
Disclaimer - Results of the French TSO for KPI 6 (Limiting constraints of the ATC domain) should be interpreted with care, due to the dynamically changing FR CBCO ID. Once this issue has been resolved, this report will be updated to account for those potential inaccuracies. This is expected to be implemented in Q1 2024.

## Slide 19: KPI 6
Limiting constraints of the ATC domain​

## Slide 20: KPI 6
Limiting constraints of the ATC domain​

## Slide 21: KPI 6
Limiting constraints of the ATC domain​

## Slide 22: KPI 6
Limiting constraints of the ATC domain​

## Slide 23: KPI 6
Limiting constraints of the ATC domain​

## Slide 24: KPI 6
Limiting constraints of the ATC domain​

## Slide 25: KPI 6
Limiting constraints of the ATC domain​

## Slide 26: KPI 7
Most often pre-solved CNECs​

## Slide 27: KPI 7
Most often pre-solved CNECs​

## Slide 28: KPI 7
Most often pre-solved CNECs​

## Slide 29: KPI 7
Most often pre-solved CNECs​

## Slide 30: KPI 7
Most often pre-solved CNECs​

## Slide 31: KPI 7
Most often pre-solved CNECs​

## Slide 32: KPI 7
Most often pre-solved CNECs​

## Slide 33: KPI 7
Most often pre-solved CNECs​

## Slide 34: KPI 7
Most often pre-solved CNECs​

## Slide 35: KPI 7
Most often pre-solved CNECs​

## Slide 36: KPI 7
Most often pre-solved CNECs​

## Slide 37: KPI 7
Most often pre-solved CNECs​

## Slide 38: KPI 7
Most often pre-solved CNECs​

## Slide 39: KPI 7
Most often pre-solved CNECs​

## Slide 40: KPI 7
Most often pre-solved CNECs​

## Slide 41: KPI 7
Most often pre-solved CNECs​

## Slide 42: KPI 8 – Min and Max Net Positions per bidding zone
(a) Based on final FB domain

## Slide 43: KPI 8 – Min and Max Net Positions per bidding zone
(a) Based on final FB domain

## Slide 44: KPI 8 – Min and Max Net Positions per bidding zone
(a) Based on final FB domain

## Slide 45: KPI 8 – Min and Max Net Positions per bidding zone
(a) Based on final FB domain
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 46: KPI 8 – Min and Max Net Positions per bidding zone
(a) Based on final FB domain
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 47: KPI 8 – Min and Max Net Positions per bidding zone
(a) Based on final FB domain
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 48: KPI 8 – Min and Max Net Positions per bidding zone
(a) Based on final FB domain
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 49: KPI 8 – Min and Max Net Positions per bidding zone
(a) Based on final FB domain
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 50: KPI 8 – Min and Max Net Positions per bidding zone
(a) Based on final FB domain
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 51: KPI 8 – Min and Max Net Positions per bidding zone
(a) Based on final FB domain
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 52: KPI 8 – Min and Max Net Positions per bidding zone
(a) Based on final FB domain
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 53: KPI 8 – Min and Max Net Positions per bidding zone
(a) Based on final FB domain
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 54: KPI 8 – Min and Max Net Positions per bidding zone
(b) Based on final ID ATC
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 55: KPI 8 – Min and Max Net Positions per bidding zone
(b) Based on final ID ATC
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 56: KPI 8 – Min and Max Net Positions per bidding zone
(b) Based on final ID ATC
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 57: KPI 8 – Min and Max Net Positions per bidding zone
(b) Based on final ID ATC
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 58: KPI 8 – Min and Max Net Positions per bidding zone
(b) Based on final ID ATC
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 59: KPI 8 – Min and Max Net Positions per bidding zone
(b) Based on final ID ATC
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 60: KPI 8 – Min and Max Net Positions per bidding zone
(b) Based on final ID ATC
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 61: KPI 8 – Min and Max Net Positions per bidding zone
(b) Based on final ID ATC
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 62: KPI 8 – Min and Max Net Positions per bidding zone
(b) Based on final ID ATC
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 63: KPI 8 – Min and Max Net Positions per bidding zone
(b) Based on final ID ATC
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 64: KPI 8 – Min and Max Net Positions per bidding zone
(b) Based on final ID ATC
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.

## Slide 65: KPI 8 – Min and Max Net Positions per bidding zone
(b) Based on final ID ATC
Note - Missing values of min and max net positions for some timestamps are caused by empty domains.