- TSO(s): TERNA

- Identification of affected Long Term Transmission Rights

France to Italy, Slovenia to Italy

- Triggering event :

☒Curtailment to ensure operation remains within Operational Security Limits

☐Curtailment due to Force Majeure

☐Curtailment due to emergency situation

- Affected volume in MW / hour for each concerned period :

Austria to Italy

01/01/2020

    - 01:00 – 02:00  183 MW

    - 02:00 – 03:00  183 MW

    - 03:00 – 04:00  183 MW

    - 04:00 – 05:00  183 MW

    - 05:00 – 06:00  183 MW

Slovenia to Italy

01/01/2020

    - 03:00 – 04:00  362 MW

    - 04:00 – 05:00  362 MW

- Amount of LTTR remaining after curtailment :

Austria to Italy

01/01/2020

    - 01:00 – 02:00  164 MW

    - 02:00 – 03:00  163 MW

    - 03:00 – 04:00  157 MW

    - 04:00 – 05:00  156 MW

    - 05:00 – 06:00  164 MW

Slovenia to Italy

01/01/2020

    - 03:00 – 04:00  326 MW

    - 04:00 – 05:00  321 MW

- Information on exact operational security limit(s) that are expected to be violated in the absence of curtailment :

Voltage stability issue on the Italian Electrical system.

- Why alternative measures are not sufficient to avoid the expected violation of operational security limit(s)?

During the CC process, all the remedial actions provided by the TSOs are already considered by the CCC in the calculation.