- TSO(s) *: TERNA

- Identification of affected Long Term Transmission Rights

France to Italy, Slovenia to Italy

- Triggering event :

☒Curtailment to ensure operation remains within Operational Security Limits

☐Curtailment due to Force Majeure

☐Curtailment due to emergency situation

- Affected volume in MW / hour for each concerned period :

France to Italy

01/01/2020

    - 10:00 – 11:00  930 MW

    - 11:00 – 12:00  930 MW

    - 12:00 – 13:00  930 MW

    - 13:00 – 14:00  930 MW

    - 14:00 – 15:00  930 MW

Slovenia to Italy

01/01/2020

    - 10:00 – 11:00  216 MW

    - 11:00 – 12:00  216 MW

    - 12:00 – 13:00  216 MW

    - 13:00 – 14:00  216 MW

    - 14:00 – 15:00  216 MW

- Amount of LTTR remaining after curtailment :

France to Italy

01/01/2020

    - 10:00 – 11:00  836 MW

    - 11:00 – 12:00  851 MW

    - 12:00 – 13:00  874 MW

    - 13:00 – 14:00  798 MW

    - 14:00 – 15:00  907 MW

Slovenia to Italy

01/01/2020

    - 10:00 – 11:00  161 MW

    - 11:00 – 12:00  163 MW

    - 12:00 – 13:00  167 MW

    - 13:00 – 14:00  150 MW

    - 14:00 – 15:00  173 MW

- Information on exact operational security limit(s) that are expected to be violated in the absence of curtailment *:

Voltage stability issue on the Italian Electrical system.

- Why alternative measures are not sufficient to avoid the expected violation of operational security limit(s) *?

During the CC process, all the remedial actions provided by the TSOs are already considered by the CCC in the calculation.

Best Regards,

Operations Team