Update of CBCO list due to a reconfiguration of the grid topology close to the Dutch-German border

Standard Procedure for Assessing the Impact of Changes (SPAIC)

# Context

In the CWE Consultative Group of 30/03/2016 it was agreed that TSOs would perform a Standard Procedure for Assessing the Impact of Changes (SPAIC) for a commonly agreed list of relevant changes, including the commissioning of new assets.

Due to a reconfiguration of the grid topology close to the Dutch-German border, Amprion will update the CBCO list (Critical Branch Critical Outage) used for the Flowbased Market Coupling.

Moreover, Amprion extends the monitoring of foreign COs for current CBs. The added CBCOs can be found attached.

The new CBCOs will be active from 25/08/2018 onwards.

# Methodology

A SPAIC analysis consists of a comparison of flow-based domains for 12 typical “reference” days commonly defined by CWE TSOs, in order to estimate the impact of a change in grid topology or flow-based parameters. These 12 reference days are mapped to a larger period based on the characteristics of the days.

For this SPAIC, the '2017 reference days' for the period 1-1-2017 to 31-12-2017 have been used, and have been mapped to 363 days of the year 2017 (all days of 2017 excluding days with clock changes). Market Coupling Simulations have taken place for the whole period, to average out the impact of specific order books for the "reference days" selected by the CWE TSOs. By averaging the results per cluster, the average impact of the different flow-based domains can be assessed.

The following results are simulated and published:

- The new pre-solved Flow-Based domains and CBCOs, corresponding with the most probable grid topology (when writing this document) applied to all reference days

- All market coupling results of the SPAIC days are performed with the Market Coupling Algorithm Euphemia 10.2  (the version currently in operation for Market Coupling).

The data of the simulation results is joined to this document.

# Published datasets

The table below summarizes the standard outputs of a SPAIC analysis that were agreed upon, including a reference to the joined datasets indicating where the corresponding information can be found.

| # | Expected output | Description | Dataset |
| --- | --- | --- | --- |
| 1 | Description change and features of the typical days | A qualitative description of the foreseen change, period and expected high-level impact resulting from this A description of the main quantitative features of the 12 typical days | - Foreseen change: Cover note - Description of the typical days: Dataset 5 |
| 2a | Capacity calculation indicators - Dataset historical benchmark • 24 PTDF matrixes + RAM for each typical day and for all fixed labels • Min/max Net positions • volume | This is the dataset that is used as a reference for the change that is subject of the change | - PTDF matrices + RAM: Dataset 1 – Sheet “Historical Benchmark 2A” - Min/Max NP: Dataset 2 – Sheet “Historical Benchmark 2A” - Volume: Dataset 3 |
| 2b | Capacity calculation indicators - Dataset updated historical benchmark • 24 PTDF matrixes + RAM for each typical day and for all fixed labels • Min/max Net positions • volume | This is the dataset that is updated, including all methodological changes that are known at the time of the study | - PTDF matrices + RAM: Dataset 1 – Sheet “Updated Historical Benchmark 2B” - Min/Max NP: Dataset 2 – Sheet “Updated Historical Benchmark 2B” - FB Domain Volume: Dataset 3 |
| 2c | Capacity calculation indicators - Dataset including change • 24 PTDF matrixes + RAM for each typical day and for all fixed labels • Min/max Net positions • volume | This is the dataset that includes the change that is subject of the impact assessment | - PTDF matrices + RAM: Dataset 1 – Sheet “SPAIC 2C” - Min/Max NP: Dataset 2 – Sheet “SPAIC 2C” - FB Domain Volume: Dataset 3 |

| # | Expected output | Description | Dataset |
| --- | --- | --- | --- |
| 3a | Market simulation indicators for the dataset historical data | After the capacity calculation is performed, also Market Coupling simulations have been performed to get insight in impact on the following market indicators - Market prices - Market Spreads and Price Convergence - Market clearing volumes (Max executed Supply and Demand) - Net positions (MRC Net Position and balanced CWE Net Postion) - Social Welfare - Consumer Surplus, Producer Surplus per BZ and for CWE in total - Congestion Income for CWE - Total Social Welfare for whole CWE and whole MRC region - PRBs indicators (number of PRBs, magnitude of delta P) - Number of Euphemia solutions found | All information can be found in Dataset 4. Column A indicates whether the data refers to scenario #3a, 3b or 3c - MRC Net Position, CWE Net Position and Market price: Sheet “MRC NP, CWE NP, P” - Price spreads and Price Convergence: Sheet “MarketSpread, convergence” - Market clearing volumes (max executed Supply and Demand): Sheet “Market Volumes” - Total CWE Social Welfare, MRC Social Welfare, PRB indicators (number of PRBs, magnitude of delta P), Euphemia Solution found: Sheet “CWE SW, MRC SW, PRBs, EuphemiaS” - Consumer Surplus, Producer Surplus, CWE Congestion Income: Sheet “Social Welfare” |
| 3b | Market simulation indicators for the dataset for the updated historical benchmark |  |  |
| 3c | Market simulation indicators for the dataset including changes |  |  |